## Overview of BSI and TDI data
id | echo_exam_date | scan_assist_pro_v | study_group | heart_rhythm | valve_status | acoustic_window | hfr_tdi | hfr_tdi-iq | hfr_bsi | bsi_acquisition_method | bsi_protocol_version | other_pathology_av | pathology_mv | comments / issues
33154 | 2025-01-21 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 1 | 1 | 0 | 0
70346 | 2025-02-14 | 0 | 1 | 0 | 2 | 0 | 1 | 2 | 1 | 1 | 1 | 0 | 0
62312 | 2025-02-17 | 1 | 1 | 0 | 2 | 1 | 1 | 2 | 1 | 1 | 1 | 0 | 0
40987 | 2025-02-18 | 1 | 0 | 0 | 0 | 2 | 1 | 2 | 1 | 1 | 1 | 0 | 0
50268 | 2025-02-21 | 2 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0
56843 | 2025-02-24 | 3 | 1 | 0 | 2 | 4 | 1 | 1 | 2 | NAA | NAA | 0 | 0
51839 | 2025-02-25 | 4 | 0 | 0 | 0 | 4 | 1 | 1 | 2 | NAA | NAA | 0 | 0
68852 | 2025-03-04 | 5 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
95209 | 2025-03-07 | 6 | 0 | 0 | 0 | 4 | 1 | 1 | 1 | 1 | 1 | 0 | 0
57481 | 2025-03-10 | 7 | 1 | 0 | 0 | 0 | 1 | 1 | 2 | NAA | NAA | 1 | 0
27429 | 2025-03-11 | 8 | 1 | 2 | 2 | 0 | 1 | 1 | 2 | NAA | NAA | 1 | 0
23934 | 2025-03-14 | 8 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | NAA | NAA | 0 | 0
59886 | 2025-03-17 | 8 | 1 | 0 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1
13633 | 2025-03-18 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0
58950 | 2025-03-21 | 10 | 1 | 0 | 2 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1
21443 | 2025-03-28 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0
34929 | 2025-03-31 | 10 | 1 | 3 | 2 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 1
47637 | 2025-04-01 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 0 | 0 | HFR echo images not visible in EchoPAC for DICOM USB transfer method, but are present for USB Harddisk transfer method.
66497 | 2025-04-08 | 10 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 1
30674 | 2025-04-22 | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 1 | 1 | Error message after transfer from scanner: 'File conversion failed'
56075 | 2025-04-25 | 11.1 | 1 | 0 | 0 | 4 | 0 | 0 | 1 | 1 | 2 | 0 | 0
28734 | 2025-04-28 | 11.2 | 1 | 0 | 2 | 0 | 0 | 0 | 1 | 1 | 2 | 1 | 0 | Notation from scan assist pro occasionally out of order with actual image taken.
5883 | 2025-05-06 | 11.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 0 | 0 | Not BSI for A2Ch , exam rushed at the end due to concurrency conflict.
9849 | 2025-05-09 | 11.2 | 1 | 0 | 2 | 2 | 1 | 1 | 1 | 1 | 2 | 0 | 1 | Disc on scanner full towards end of study, could not store BSI for A3ch or PLAX. In EchoPAC, BSI loops are present in EchoPAC only for A4Ch and A2Ch, and only for transfers done with method: USB Harddisk/Memstick
9300 | 2025-05-20 | 13 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 1 | 2 | 0 | 0
49698 | 2025-05-20 | 13 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 1 | 2 | 0 | 0
51762 | 2025-06-02 | 14 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 2 | 0 | 0
92107 | 2025-07-14 | 14 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 2 | 1 | 1 | Eventually out of sync with scan assist protocol, stopped scan assist, and did final acquisitions outside scan assist pro. BSI images not visible in EchoPAC.
93789 | 2025-07-14 | 14 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 2 | 0 | 0 | Only BSI for A4Ch seen in EchoPAC for transfer done with DICOM USB Harddisk, all images seen for exam where transfer is done with USB Harddisk/Memstick.
27190 | 2025-07-28 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 1
77614 | 2025-08-04 | 14 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 2 | 1 | 1 | Also aortic stenosis in prosthetic AV valve (5).
5803 | 2025-08-05 | 11.2 | 1 | 0 | 1 | 4 | 1 | 1 | 0 | 1 | 2 | 1 | 1
47205 | 2025-08-15 | 14 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 1 | 1 | Very short loops for BSI in A2Ch
31808 | 2025-08-18 | 14 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 1 | 2 | 1 | 1
5850 | 2025-08-19 | 14 | 1 | 0 | 0 | 3 | 0 | 0 | 2 | NAA | NAA | 1 | 0
71847 | 2025-08-22 | 14 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | NAA | NAA | 0 | 0
95326 | 2025-08-26 | 14 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | NAA | NAA | 1 | 0 | Repeated some of the protocol because I had forgotten initially to turn on prospective acquisition for HFR echo.
71538 | 2025-09-01 | 15 | 1 | 0 | 0 | 4 | 1 | 1 | 0 | 1 | 3 | 1 | 1
62875 | 2025-09-02 | 15 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 1
41015 | 2025-09-05 | 16 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 3 | 2 | 1
55359 | 2025-09-09 | 16 | 1 | 0 | 2 | 2 | 0 | 0 | 0 | 1 | 3 | 1 | 1
92129 | 2025-09-12 | 16 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 3 | 0 | 1 | Subvalvular acceleration around basal septum
36070 | 2025-09-15 | 16 | 1 | 0 | 2 | 2 | 1 | 1 | 1 | 1 | 3 | 0 | 1 | BSI and TDI for tissue only done for PLAX, due to reduced acoustic window from apical position.
89491 | 2025-09-16 | 16 | 1 | 0 | 2 | 1 | 0 | 0 | 1 | 1 | 3 | 0 | 0
15492 | 2025-09-23 | 17 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 1 | 3 | 0 | 1 | May have forgotten to activate RF for BSI
47676 | 2025-09-26 | 17 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 1 | 1
54589 | 2025-09-29 | 17 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 3 | 2 | 1
63757 | 2025-09-30 | 17 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 3 | 1 | 0
29350 | 2025-10-13 | 19 | 0 | 0 | 0 | 4 | 0 | 0 | 2 | NAA | NAA | 0 | 0 | Strange appearance of HFR 2d b-mode for focused septum; looks stretched laterally, it was corrected after shifting probe preset and back again.
77705 | 2025-10-14 | 19 | 1 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 3 | 0 | 0
45714 | 2025-10-17 | 19 | 1 | 1 | 2 | 2 | 0 | 0 | 0 | 0 | 3 | 0 | 0
37725 | 2025-10-21 | 19 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 3 | 1 | 0
98109 | 2025-10-27 | 19 | 1 | 1 | 2 | 4 | 0 | 0 | 0 | 0 | 3 | 1 | 0
23709 | 2025-11-10 | 19 | 1 | 0 | 2 | 4 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | HFR 2D b-mode TDI and TDI-IQ somehow forgotten for A3Ch.
203 | 2025-11-11 | 20 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 3 | 1 | 1
13151 | 2025-11-14 | 20 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 1
28344 | 2025-11-17 | 20 | 1 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 3 | 1 | 0
2213 | 2025-11-18 | 20 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 3 | 1 | 1
28619 | 2025-12-12 | 20 | 1 | 0 | 2 | 4 | 1 | 1 | 2 | NAA | NAA | 0 | 1
30404 | 2025-12-16 | 20 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0
83354 | 2025-12-19 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1
41820 | 2026-01-09 | 21 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 0
49675 | 2026-01-12 | 21 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0
94360 | 2026-02-03 | 22 | 1 | 0 | 2 | 2 | 0 | 0 | 2 | NAA | NAA | 0 | 0
29408 | 2026-02-09 | 22 | 1 | 2 | 1 | 0 | 0 | 0 | 2 | NAA | NAA | 1 | 0
51844 | 2026-02-13 | 22 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 4 | 1 | 0
600 | 2026-02-16 | 22 | 1 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 4 | 1 | 0
97363 | 2026-02-17 | 22 | 1 | 0 | 2 | 1 | 1 | 1 | 1 | 0 | 4 | 2 | 1
55916 | 2026-02-20 | 22 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 4 | 2 | 1
11360 | 2026-02-23 | 22 | 1 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 4 | 0 | 1
127 | 2026-02-24 | 23 | 1 | 0 | 2 | 4 | 0 | 0 | 0 | 0 | 4 | 0 | 5 | Artefact in LA from calcification on mitral valve and mitral ring.
52979 | 2026-03-02 | 23 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0
92849 | 2026-03-03 | 23 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0
42379 | 2026-03-10 | 23 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 0
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ID in echo study: 5-33154
Note on A23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ID = 28734/28738

## Coding of variables
Variable name | Variable label | Value | Value label | Comment
admin data
id | Unique identification of study participants, anonymized |  |  | id 5-33154 = id 33154; id 28734/28738 (both id's used in 1-year study) = id 28734 (used in this study)
study_group | Study arm | 0 | healthy control
|  | 1 | aortic stenosis patient
echo_exam_date | Date of HFR echocardiography |  |  | Date format: dd.mm.yyyy
Clinical data
heart_rhythm | Hearth rhythm during echocardiography | 0 | sinus rhythm
|  | 1 | sinus arrhythmia | These arrhythmias are most often ventricular ectopic beats, creating varying R-R intervals
|  | 2 | atrial fibrillation
|  | 3 | atrial flutter
|  | 4 | other rhythm
valve_status | Native valve still or has performed aortic valve replacement (AVR) | 0 | native aortic valve | AVR: aortic valve replacement (either transfemoral approach or open heart surgery)
|  | 1 | tavr | Transfemoral AVR
|  | 2 | savr | Surgical AVR
Echocardiography data
Quality parameters for hfr echo study |  |  |  | Assessed by time of acquistion in long-term follow-up study
acoustic_window | Quality of acoustic window in high fram rate (HFR) echo study | 0 | Good acoustic window from all projections (parasternal, apical, +/- subcostal)
|  | 1 | Reduced acoustic window in parasternal views
|  | 2 | Reduced acoutisc window in apical views
|  | 3 | Reduced acoustic window in subcostal view | No bsi or other tdi data acquired from subcostal views
|  | 4 | Reduced acoustic window from both parasternal and apical window (+/- other views) | Severely reduced acoustic window will be coded as 5
|  | 5 | Severely reduced acoustic window from both parasternal and apical window (+/- other views)
hfr_tdi | HFR echo with tdi on 2D B-mode images | 0 | Performed with good quality
|  | 1 | Performed with suboptimal quality, or incomplete
|  | 2 | Not performed | All studies have some sort of 2d b-mode tdi data for tissue, perhaps with the exception of the earliest studies, where some errors may have been made during acquisition. One issue was trying to make data dumps, and later realizing that hfr tdi aqcuisitions was not to be data dumped.
hfr_tdi-iq | HFR echo with tdi-iq on 2D B-mode images | 0 | Performed with good quality
|  | 1 | Performed with suboptimal quality, or inclomplete
|  | 2 | Not performed
hfr_bsi | Blood speckle imaging performed in apical projections and plax | 0 | Performed with good quality
|  | 1 | Performed with suboptimal quality, or inclomplete
|  | 2 | Not performed
Technical parameters for hfr echo study
bsi_acquisition_method | BSI cine loops acquired retropectively | 0 | Retrospective | TDI and TDI-iq 2D B-mode cine images are acquired prospectively throughout the study
| BSI cine loops acquired prospectively | 1 | Prospective
bsi_protocol_version | Version of BSI protocol used for each echo scan | 1 | Experimental first protocol, A4C and PLAX (may not have activated RF on initial studies) | Varying color doppler box sector width angle (~ 60, 30, and 15 degrees). With reference to studies done in pediatric cardiology for IVPD assessment of LV
|  | 2 | Second protocol | Covering the whole LV chamber always with the color doppler box. Acquired two images per view (HQ: frame rate knob at lowest level; HFR: frame rate knob at highest level). Approach of varying the color box sector angle (~ 60, 30, and 15 degrees) was abandoned.
|  | 3 | Third protocol | Second protocol + added intermediary (medium) high frame rate step in each view: Low FR (HQ), medium FR, and high FR color doppler acquisitons
|  | 4 | Fourth protocol | Third protocol + added intermediary (moderate) high frame rate step in each view: Low FR (HQ), medium FR, moderate FR, and high FR color doppler acquisitons
Other left-sided valve pathology |  |  |  | Other than aortic stenosis
other_pathology_av | Other aortic valve pathology (other than aortic stenosis) | 0 | No other aortic valve pathology (or only minor AR) | Aortic stenosis has not been coded into this variable. The study-group variable has this information. The exception is if new stenosis has developed in a prosthetic aortic valve, this is then coded as 5.
|  | 1 | Mild aortic regurgitation
|  | 2 | Moderate aortic regurgitation
|  | 3 | Severe aortic regurgitation
|  | 4 | Aortic valve calcification without stenosis
|  | 5 | Aortic valve stenosis (in aortic valve prosthesis)
pathology_mv | Mitral valve regurgitation and/or stenosis | 0 | Normal mitral valve (or only minor MR) | MR: mitral regurgitation
|  | 1 | Mild mitral regurgitation
|  | 2 | Moderate mitral regurgitation
|  | 3 | Severe mitral regurgitation
|  | 4 | Mitral valve calcification
|  | 5 | Mitral valve stenosis
Scan Assist Pro version history
scan-assist-pro-v | Version of Scan Assist Pro used during echocardiography follow-up study | 0 | echo performed without assistance from scan assist pro (A scan assist pro protocol had not been developed at this point)
|  | 1 | 2025-02-17_HFR-protocol_Core-images.uep
|  | 2 | 2025-02-21_HFR-protocol_Full-images.uep
|  | 3 | 2025-02-24_HFR-protocol_Full-images.uep
|  | 4 | 2025-02-25_HFR-protocol_Full-images.uep
|  | 5 | 2025-03-04_HFR-protocol_Full.uep
|  | 6 | 2025-03-07_HFR-protocol_Full.uep
|  | 7 | 2025-03-10_HFR-protocol_Full.uep
|  | 8 | 2025-03-11_HFR-protocol_Full.uep
|  | 9 | 2025-03-18_HFR-protocol_Full.uep
|  | 10 | 2025-03-20_HFR-protocol_Full.uep
|  | 11 | 2025-04-22_HFR-protocol_Full.uep
|  | 11.1 | 2025-04-25_HFR-protocol_Full.uep
|  | 11.2 | 2025-04-28_HFR-protocol_Full.uep
|  | 12 | 2025-05-19_HFR-protocol_Full.uep
|  | 13 | 2025-05-20_HFR-protocol_Full.uep
|  | 14 | 2025-06-02_HFR-protocol_Full.uep
|  | 15 | 2025-08-28_HFR-protocol_Full.uep | From this study onwards is the alignment of 2d b-mode hfr, tdi and tdi-iq hfr imaging ordered in the most efficient and logical way. The structure of the BSI imaging is still at an experimental level.
|  | 16 | 2025-09-04_HFR-protocol_Full.uep
|  | 17 | 2025-09-21_HFR-protocol_Full.uep
|  | 18 | 2025-10-04_HFR-protocol_Full.uep
|  | 19 | 2025-10-13_HFR-protocol_Full.uep
|  | 20 | 2025-11-11_HFR-protocol_Full.uep
|  | 21 | 2025-12-12_HFR_protocol_Full.uep
|  | 22 | 2026-02-03_HFR_protocol_Full.uep
|  | 23 | 2026-02-24_HFR_protocol_Full.uep
Handling of missing data
|  | NA | Missing data
|  | NAA | Inapplicable data